MyBaits DNA Capture – William’s aDNA Lab 2025 (Turkeys)

Day 1 Initial Setup (~45 min):

- Turn on Thermocycler for PCR tubes

- Turn on water bath or incubator to 60°C

- Turn on heat block for microcentrifuge tubes to 60°C

- UV the following materials:

  - 1.5 mL tube x2 (one for Hybridization mix and another for Blockers Mix)

  - PCR tubes x2 per sample (one for Hybridization mix and another for Blockers Mix)

  - 1.5 ml UltraPure H20 aliquot

- Prepare the following reagents:

  - Hyb N and Hyb S from Box 1

  - Hyb D and Hyb R from Box 2

  - Block C, Block O, and Block X from Box 2

  - Baits from Box 3 *KEEP ON ICE*

  - 7 μl NEBNext Library (per sample)

Basic idea: Sequencing libraries are mixed with various blocking nucleic acids, denatured, and then combined with other hybridization reagents (including baits). These hybridization reactions incubate for several hours to allow baits to encounter and hybridize with target library molecules.

1.1 Hybridization (~60 min):

[_] Heat Hyb N and Hyb S to 60°C to thaw in water bath

[_] Once all the Hyb reagents have thawed, vortex to homogenize and briefly centrifuge

[_] Prepare the Hybridization Mix (Round 1, now referred to as HBY-1) in 1.5mL tube:

| Reagent | Amount (per reaction) | 5 Samples |
| --- | --- | --- |
| Hyb N | 9.25 μl | 46.25 μl |
| Hyb D | 3.5 μl | 17.5 μl |
| Hyb S* | 0.5 μl | 2.5 μl |
| Hyb R | 1.25 μl | 6.25 μl |
| Water | 1.1 μl | 5.5 μl |
| Baits | 4.4 μl** | 22 μl** |
| Total | 20 μl | 100 μl |

*Cloudiness after addition will clear up after incubating
** Spike in 0.3 μl Mito baits (~0.0088 μl per sample or 500:1 Nuclear-Mito ratio)

[_] Briefly vortex and centrifuge HYB-1

[_] Incubate HYB-1 at 60°C for 10 minutes in heat block, vortex occasionally

[_] Remove from block and let sit for 5 minutes

[_] Aliquot 18.5 μl of HYB-1 to one PCR tube for each sample, set aside at room temperature

1.2 Blockers Mix Setup (~60 min):

[_] Prepare the following Blockers Mix in 1.5 mL tube (works for most taxa, check manual):

| Reagent | Amount (per reaction) | 5 Samples |
| --- | --- | --- |
| Block O | 2.5 μl | 12.5 |
| Block C | 2.5 μl | 12.5 |
| Block X | 0.5 μl | 2.5 |
| Total | 5.5 μl | 27.5 |

[_] Aliquot 5 μl of Blockers Mix to one PCR tube for each sample

[_] Add 7 μl of individual Library to each Blockers Mix aliquot and mix by pipetting (now referred to as LIBs)

[_] Place LIBs in thermocycler, stabilizer corners with empty tubes, close lid, and run the program LIBHYB55 (95°C for 5 minutes, 55°C* for 5 minutes, and hold at 55°C*, lid temperature set to 10°C above each step) Sample Volume = 30 μl – immediately complete the next step!!

[_] Once the cycler reaches hybridization temperature (55°C*), pause the program and insert the HYB-1s, close lid and resume program

*Note: Hybridization temperature might be different depending on bait-target divergence

[_] Once the hold begins, open thermocycler but leave tubes inside

[_] Pipette 18 μl of each HYB-1s to each LIB, pipette 5 times to mix

[_] Dispose of HYB-1 tubes, briefly centrifuge the LIB mix and return to thermocycler

[_] Incubate overnight (16 to 24 hours) at 55°C*

Day 2 Initial Setup (~ 45 min):

Note: Start at least 90 minutes before intended hybridization stop time. Note that wash temperatures might be different depending on bait-target divergence, check manual.

- Turn on water bath or incubator oven to 60°C

- Turn on heat block for microcentrifuge tubes to 55°C

- Take out magnet stand for 1.5 mL and PCR tubes

- UV the following materials:

  - 15 mL tube for Wash Buffer X

  - 1.5 ml tubes 1 + x3 per sample (one for preparing the beads, one set for bead mix, another set to save the backup supernatant, a third set for concentration to prepare for second round of enrichment)

  - PCR tubes x3 per sample (x2 for Library Amplification and x1 after bead purification)

  - 15 mL UltraPure H20 aliquot

- Take out the following reagents:

  - Hyb S from Box 1

  - Binding Buffer from Box 1

  - Wash Buffer from Box 1

  - Beads from Box 1 (prepare beads immediately prior to use)

- Prepare these reagents but keep in freezer until needed:

  - Buffer E from Box 2

  - KAPA HiFi HotStart mix (MUST BE KEPT ON ICE)

  - P5 and P7 primers

  - SPRI/AMPure XP Beads

Basic idea: Bait-target hybrids are bound to magnetic beads, and then most non-target DNA is removed with several rounds of washing with a warm buffer. Bead-bound enriched library is resuspended in Buffer E and amplified.

1.3 Prepare Wash Buffer X (~ 90 minutes)

[_] Warm Wash Buffer and Hyb S to 60°C to thaw in water bath (~30 minutes), vortex thoroughly, change water bath to 55°C when done

[_] Prepare the Wash Buffer X in 15 mL tube:

| Reagent | Amount |
| --- | --- |
| Hyb S | 100 μl |
| Water | 9.9 mL |
| Wash Buffer | 2.5 mL |
| Total | 12.5 mL |

Makes enough Wash Buffer X for 11 reactions, can be stored at 4°C for up to one month

[_] Heat the Wash Buffer X in the water bath or oven at 55°C for at least 30 minutes before use, keep warm

[_] At the same time, allow reagents from Box 1 to come to room temperature (~30-45 min), take out the beads to warm up for at least 30 minutes at room temperature

1.4 Cleanup with Beads (~ 75 min):

[_] Add 30 μl beads per sample to one 1.5mL tube (max 8 samples at a time)

[_] Place tube with beads on magnetic stand until suspension is clear (1-2 minutes)

[_] Leave tube on magnet, remove and discard the supernatant

[_] Wash the beads:

[_] Add 200 μl Binding Buffer per sample to beads, vortex the beads to resuspend, briefly centrifuge and place back on magnet

[_] After 1-2 minutes or once liquid is clear, remove and discard supernatant

[_] [_] Repeat previous 2 steps twice for a total of three washes

[_] Add 70 μl Binding Buffer per sample to washed beads to resuspend, mix and aliquot into separate tubes for each sample

[_] Heat the bead aliquots to 55°C on heat block for at least 2 minutes

[_] Transfer LIB capture reactions to the heated bead aliquots, mix by pipetting

[_] Incubate library-bead mix on heat block for 5 minutes, flicking the tubes halfway through to keep beads suspended followed by brief centrifuge

[_] Take out the primers to thaw at room temperature

[_] Wash the library-bead mix:

[_] Place tubes on magnetic stand until solution is clear, remove supernatant (save the first round of supernatant in another 1.5 mL tube as a backup for re-capture)

[_] Add 375 μl of warm Wash Buffer X, place in heat block for 15 seconds, briefly vortex and centrifuge

[_] Incubate for 5 minutes at 55°C in heat block, gently vortex and briefly centrifuge halfway through

[_] [_] Repeat previous 3 steps twice for a total of three washes, remove as much liquid as possible on last wash without disturbing the beads

[_] Add 30 μl Buffer E to the washed beads and mix by pipetting (32 μl might work better)

1.5 KAPA HiFi Library Amplification (~ 60 min):

[_] Prepare two sets of the following KAPA PCR Master Mix per sample (in 2 separate PCR tubes):

| Reagent | Amount (per reaction) |
| --- | --- |
| Water | 5 μl |
| 2X KAPA HiFi HotStart Ready Mix | 25 μl |
| P5 library primer (at 10 μM) | 2.5 μl |
| P7 library primer (at 10 μM) | 2.5 μl |
| Enriched Library-Bead Mix | 15 μl |
| Total | 50 μl |

[_] On the thermocycler, run the program LIBAMP-1 (98°C for 2 minutes, 16 cycles of 98°C for 20 seconds then 60°C for 30 seconds and 72°C for 45 seconds, 72°C for 5 minutes, hold at 8°C) Sample Volume = 50 μl ~45 minutes, take out SPRI beads to thaw at room temperature in the meantime

[_] Purify with SPRI Beads

[_] Vortex beads to resuspend

[_] Add 90 μl of beads to each 50 μl sample and mix by pipetting 10 times

[_] Incubate 5 minutes at room temperature

[_] Place samples on magnet for 2 minutes or until solution is clear, leave about 5 μl of supernatant in tubes

[_] Add 200 μl of 70% ethanol, incubate for 30 seconds at room temperature, then discard ethanol

[_] Repeat previous step once for a total of 2 washes, make sure to remove all ethanol on the second wash

[_] Add 40 μL of elution buffer (1X TE Buffer) and pipette mix 10 times, incubate for 2 minutes

[_] Place samples back on magnet for 1 minute

[_] Combine purified amplifications in 1.5mL tubes and concentrate to 7μl for the second round of enrichment (Vaccum Concetrator Centrifugal Evaporator set at 50°C for ~30-40 minutes)

[_] Store the enriched library in at -20°C, ready for second enrichment round

Day 3 Initial Setup (~45 min)

- Turn on Thermocycler for PCR tubes

- Turn on water bath or incubator to 60°C

- Turn on heat block for microcentrifuge tubes to 60°C

- UV the following materials:

  - 1.5 mL tube x2 (one for Hybridization mix and another for Blockers Mix)

  - PCR tubes x2 per sample (one for Hybridization mix and another for Blockers Mix)

  - 1.5 ml UltraPure H20 aliquot

- Prepare the following reagents:

  - Hyb N and Hyb S from Box 1

  - Hyb D and Hyb R from Box 2

  - Block C, Block O, and Block X from Box 2

  - Baits from Box 3 *KEEP ON ICE*

  - 7 μl Enriched Library (from previous step)

Basic idea: This is the second round of enrichment. It basically follows the same idea as Day 1’s hybridization reaction with different reagent and bait amounts.

2.1. Hybridization (~60 min):

[_] Heat Hyb N and Hyb S to 60°C to thaw in water bath

[_] Once all the Hyb reagents have thawed, vortex to homogenize and briefly centrifuge

[_] Prepare the Hybridization Mix (Round 2, now referred to as HBY-2) in 1.5mL tube:

| Reagent | Amount (per reaction) | 5 Samples |
| --- | --- | --- |
| Hyb N | 9.25 μl | 46.25 μl |
| Hyb D | 3.5 μl | 17.5 μl |
| Hyb S* | 0.5 μl | 2.5 μl |
| Hyb R | 1.25 μl | 6.25 μl |
| Water | 4.4 μl | 22 μl |
| Baits | 1.1 μl** | 5.5 μl** |
| Total | 20 μl | 100 μl |

*Cloudiness after addition will clear up after incubating
** Spike in 0.3 μl Mito baits (~0.0051 μl per sample or 500:1 Nuclear-Mito ratio)

[_] Briefly vortex and centrifuge HYB-2

[_] Incubate HYB-2 at 60°C for 10 minutes in heat block, vortex occasionally

[_] Remove from block and let sit for 5 minutes

[_] Aliquot 18.5 μl of HYB-2 to one PCR tube for each sample

[_] Set aside at room temperature

2.2. Blockers Mix Setup (~60 min):

[_] Prepare the following Blockers Mix in 1.5 mL tube (works for most taxa, check manual):

| Reagent | Amount (per reaction) | 5 Samples |
| --- | --- | --- |
| Block O | 2.5 μl | 12.5 |
| Block C | 2.5 μl | 12.5 |
| Block X | 0.5 μl | 2.5 |
| Total | 5.5 μl | 27.5 |

[_] Aliquot 5 μl of Blockers Mix to one PCR tube for each sample

[_] Add 7 μl of enriched Library to each Blockers Mix aliquot and mix by pipetting (now referred to as LIBs)

[_] Place LIBs in thermocycler, stabilizer corners with empty tubes, close lid, and run the program LIBHYB55 (95°C for 5 minutes, 55°C* for 5 minutes, and hold at 55°C*, lid temperature set to 10°C above each step) Sample Volume = 30 μl – immediately complete the next step!!

[_] Once the cycler reaches hybridization temperature (55°C*), pause the program and insert the HYB-2s, close lid and resume program

*Note: Hybridization temperature might be different depending on bait-target divergence

[_] Once the hold begins, open thermocycler but leave tubes inside

[_] Pipette 18 μl of each HYB-2s to each LIB, pipette 5 times to mix

[_] Dispose of HYB-2 tubes, briefly centrifuge the LIB mix and return to thermocycler

[_] Incubate overnight (16 to 24 hours) at 55°C*

Day 4 Initial Setup (~45 min):

Note: Start at least 30 minutes before intended hybridization stop time.

- Turn on water bath or incubator oven to 55°C

- Turn on heat block for microcentrifuge tubes to 55°C

- Take out magnet stand for 1.5 mL tubes

- UV the following materials:

  - 1.5 ml tubes 1+ x2 per sample (one for preparing beads, one set for bead mix, another set to save the backup supernatant)

  - PCR tubes x2 per sample (x1 for Library Amplification, x1 after bead purification)

  - 1.5 mL UltraPure H20 aliquot

- Take out the following reagents:

  - Wash Buffer X (previously prepared)

  - Binding Buffer from Box 1

  - Beads from Box 1 (prepare beads immediately prior to use)

- Prepare these reagents but keep in freezer until needed

  - Buffer E from Box 2

  - KAPA HiFi HotStart mix (MUST BE KEPT ON ICE)

  - P5 and P7 primers

  - SPRI Beads

Basic idea: In the second round of enrichment, this follows the same idea as Day 2 where the non-target DNA is washed and the bead-bound twice enriched library is amplified again. You should have prepared enough Wash Buffer X that you do not have to repeat that step.

2.3 Prepare Wash Buffer X (~ 30 minutes)

[_] Allow reagents from Box 1 to come to room temperature (~30 min)

[_] Heat the Wash Buffer X in the water bath or oven at 55°C for at least 30 minutes before use, keep warm

2.4 Cleanup with Beads (~ 95 min):

[_] Add 30 μl beads per sample to one 1.5mL tube (max 8 samples at a time)

[_] Place tube with beads on magnetic stand until suspension is clear (1-2 minutes)

[_] Leave tube on magnet, remove and discard the supernatant

[_] Wash the beads:

[_] Add 200 μl Binding Buffer per sample to beads, vortex the beads to resuspend, briefly centrifuge and place back on magnet

[_] After 1-2 minutes or once liquid is clear, remove and discard supernatant

[_] [_] Repeat previous 2 steps twice for a total of three washes

[_] Add 70 μl Binding Buffer per sample to washed beads to resuspend, mix and aliquot into separate tubes for each sample

[_] Heat the bead aliquots to 55°C on heat block for at least 2 minutes

[_] Transfer LIB capture reactions to the heated bead aliquots, mix by pipetting

[_] Incubate library-bead mix on heat block for 5 minutes, flicking the tubes halfway through to keep beads suspended followed by brief centrifuge

[_] Take out the primers and Buffer E to thaw at room temperature

[_] Wash the library-bead mix:

[_] Place tubes on magnetic stand until solution is clear, remove supernatant (save the first round of supernatant in another 1.5 mL tube as a backup for re-capture)

[_] Add 375 μl of warm Wash Buffer X, place in heat block for 15 seconds, briefly vortex and centrifuge

[_] Incubate for 5 minutes at 55°C in heat block, gently vortex and briefly centrifuge halfway through

[_] [_] Repeat previous 3 steps twice for a total of three washes, remove as liquid as possible on last wash without disturbing the beads

[_] Add 30 μl Buffer E to the washed beads and mix by pipetting (32 μl might work better)

2.5 KAPA HiFi Library Amplification (~ 30 min):

[_] Prepare one reaction of the following KAPA PCR Master Mix per sample:

| Reagent | Amount (per reaction) |
| --- | --- |
| Water | 5 μl |
| 2X KAPA HiFi HotStart Ready Mix | 25 μl |
| P5 library primer (at 10 μM) | 2.5 μl |
| P7 library primer (at 10 μM) | 2.5 μl |
| Enriched Library-Bead Mix* | 15 μl |
| Total | 50 μl |

*Any remaining bead-bound library can be stored at -20C for several months

[_] On the thermocycler, run the program LIBAMP-2 (98°C for 2 minutes, 10 cycles of 98°C for 20 seconds then 60°C for 30 seconds and 72°C for 45 seconds, 72°C for 5 minutes, hold at 8°C) Sample Volume = 50 μl ~35 minutes

*Don’t’ forget to take out the SPRI Beads to thaw at room temperature while the PCR reaction runs

[_] Purify reaction again with SPRI Beads

[_] Vortex beads to resuspend

[_] Add 90 μl of beads to each 50 μl sample and mix by pipetting 10 times

[_] Incubate 5 minutes at room temperature

[_] Place samples on magnet for 2 minutes or until solution is clear, leave about 5 μl of supernatant in tubes

[_] Add 200 μl of 70% ethanol, incubate for 30 seconds at room temperature, then discard ethanol

[_] Repeat previous step once for a total of 2 washes, make sure to remove all ethanol on the second wash

[_] Add 40 μL of elution buffer (1X TE Buffer) and pipette mix 10 times, incubate for 2 minutes

[_] Place samples back on magnet for 1 minute, transfer supernatant to new tubes

Enriched libraries are now ready for quantification, quality assessment, and sequencing